## INSTRUCTIONS
INSTRUCTIONS
This file will facilitate collecting and inputting parameter data in CMMS. The Excel workbook has tabs for each template that LANL has established, and a list of those follows: | User should enter data for each item starting with first unused column, and indicate the CMMS item for which it applies using either E-code (if known) or unique item location data (e.g., 030410-HVAC-FE-001) in the column heading. | ALL parameter choices in one listing is included in the second tab (worksheet) and this may also be used or instead of the templates.
AIR CIRCUIT BREAKER
AIR CONDITIONER
AIR CONDITIONER, REFRIG (ACR)
AIR WASH
BACK FLOW PREVENTER
BOILER
BUS DUCT
CHILLER, WATER, REFRIGERANT (C
COMPRESSORS/DRYERS
COOLING TOWER (TC)
CRANE
DOORS
ELECTRICAL EQUIPMENT
ELEVATOR (HYDRAULIC)
ELEVATOR (TRACTION)
ENCLOSURE
EVAPORATIVE CHILLER
FAN
FAN, COOLING TOWER (FCT)
FILTER
FIRE EQUIPMENT
FIRE PROTECTION
GAUGE
GENERIC
GLOVE
HEAT EXCHANGER
HEAT EXCHANGER (HX)
HEATER
HEATING, VENT, AIR CON (HVA)
HOIST
MOTOR
MOTOR CONTROL CENTER
MOTOR PARAM ASSOCIATED W/PUMPS
PANELBOARD
PRESSURE REGULATING VALVES
PRESSURE VESSELS
PRESURE SAFETY VALVE
PUMP
PUMP EQUIP TYPE PARAM
PUMP, COOLING OR CHILLED WATER
PUMP, COOLING TOWER (PCT)
PUMP, DEIONIZED WATER (HVA)
SAFETY SHOWERS
STEAM EQUIPMENT
SWITCHBOARD
TANK SURVEY
TANKS AND RECEIVERS
TRANSFORMER
UPS INVERTER/BATTERIES

## All Param Choices
Parameter Name | Description
AMPS @ HI/LOW SPEED | AMPS @ HI/LOW SPEED
BRAKE MOTOR HP & MAX. RPM | BRAKE MOTOR HP & MAX. RPM
BRAKE MOTOR MANUFACTURER | BRAKE MOTOR MANUFACTURER
BUILDER ASSESSOR | BUILDER Assessor
BUILDER CI | BUILDER CI
BUILDER DATE INSTALLED | BUILDER Date Installed
BUILDER INSPECTION COMMENTS | BUILDER Inspection Comments
BUILDER INSPECTION DATE | BUILDER Inspection Date
BUILDER MANUFACTURER | BUILDER Manufacturer
BUILDER MODEL NUMBER | BUILDER Model Number
BUILDER QUANTITY | BUILDER Quantity
BUILDER SECTION CATEGORY | BUILDER Section Category
BUILDER SECTION NAME | BUILDER Section Name
BUILDER SECTION SUBTYPE | BUILDER Section Sub-Type
BUILDER SECTION-COMMENTS-NOTES | BUILDER Section Comments Notes
CAR BUFFER(S):MFGR/PART# | CAR BUFFER(S):MFGR/PART#
CAR BUFFER(S):TYPE/# UNIT | CAR BUFFER(S):TYPE/# UNIT
CAR EMERGENCY TEL # | CAR EMERGENCY TEL #
CAR/UNIT ASSY-HANDICAPPED? | CAR/UNIT ASSY-HANDICAPPED?
CB WIRE ROPE:MFG TYPE/PT# | CB WIRE ROPE:MFG TYPE/PT#
CB: BUFFER TYPE/#-SZ WTS. | CB: BUFFER TYPE/#-SZ WTS.
CHEMICAL NAME | CHEMICAL NAME
CODE YEAR | CODE YEAR
COUNTER BALANC:#/SIZE WT | COUNTER BALANC:#/SIZE WT
COUNTER BALANCE: MFGR/PT# | COUNTER BALANCE: MFGR/PT#
CYLINDER SZ-LENGTH & DIA | CYLINDER SZ-LENGTH & DIA
DACS | DIGITAL ALARM COMMUNICATION SYSTEMS
DOCUMENTATION LOCATION | DOCUMENT LOCATION
DRAWING NBR | NON-ASSET SUITE DRAWING NUMBER
DRAWING NUMBER | NON-ASSET SUITE DRAWING NUMBER
EXTERNAL INSPECTION | EXTERNAL INSPECTION
FP SPECIAL SYSTEM | FIRE PROTECTION SPECIAL SYSTEM
FP SUBPANEL | FIRE PROTECTION SUBPANEL
GOVRNR WIR ROP:L/SZ/MTRL | GOVRNR WIR ROP:L/SZ/MTRL
GOVRNR WIRE ROPE:MFGR/PT# | GOVRNR WIRE ROPE:MFGR/PT#
HORSEPOWER @ HI/LOW SPEED | HORSEPOWER @ HI/LOW SPEED
INSTALLATION DATE | INSTALLATION DATE
INTERNAL INSPECTION | INTERNAL INSPECTION
LUBE :WIRE ROPE GRADE/WT. | LUBE :WIRE ROPE GRADE/WT.
LUBE TYPE:SURFAC GRADE/WT | LUBE TYPE:SURFAC GRADE/WT
M01 MANUFACTURER | MANUFACTURER
M02 MODEL/CAT NUMBER | MODEL/CATALOG NUMBER
M07 RATED CAP (GPM/CFM) | RATED CAPACITY
M31 INSTALLATION DATE | INSTALLATION DATE
M32 VESSEL # | VESSEL #
M34 SERVICE (LIQUID,GAS,STEAM) | service
M39 ORIFICE SIZE | ORIFICE SIZE
M43 NORMAL OP PRESSURE/TEMP | NORMAL OPERATING PRESSURE/TEMPERATURE
M45 DRAWING REFERENCE | DRAWING REFERENCE
M47 MAX TEMPERATURE | MAX TEMPERATURE
M64 PRESSURE TEMP RATING | PRESSURE/TEMPERATURE RATING
MAIN WIRE ROPE:MFGR/PT # | MAIN WIRE ROPE:MFGR/PT #
MAIN WIRE:LNGTH/SZ/MATERL | MAIN WIRE:LNGTH/SZ/MATERL
MAINTENANCE FREQUENCY | MAINTENANCE FREQUENCY
MANUFACTURER | MANUFACTURER
MFG | MANUFACTURER CODE
MODEL/CAT. NUMBER | MODEL/CAT. NUMBER
OIL BY-PASS&REG VLV MFR | OIL BY-PASS&REG VLV MFR
OIL RESV-MTL, SZ & CAP | OIL RESV-MTL, SZ & CAP
OIL-BRAND, TYPE & WT | OIL-BRAND, TYPE & WT
OWNER (GROUP) | GROUP THAT OWNS EQUIPMENT
P/N | LANL PROPERTY NUMBER
PASSENGER CAR LTS-TYP & SZ | PASSENGER CAR LTS-TYP & SZ
PHASE | PHASE
PM | TYPE OF PM
PUMP CAPACITY-GPM | PUMP CAPACITY-GPM
RATED CAPACITY | RATED CAPACITY
SAFETY(IES)-TYPE & CAP | SAFETY(IES)-TYPE & CAP
SERIAL # | SERIAL NUMBER
SERIAL NUMBER | SERIAL NUMBER
SHEAVE SIZE/WIRE ROPE CAP | SHEAVE SIZE/WIRE ROPE CAP
SPRINKLERS | SPRINKLER TYPE
SYSTEM OWNER | System Owner
TRACTION TYPE SHEAVE MFGR | TRACTION TYPE SHEAVE MFGR
TYPE | TYPE
UNIT CONTLS-MFR & TYPE | UNIT CONTLS-MFR & TYPE
UNIT CAR DIMENSIONS | UNIT CAR DIMENSIONS
UNIT FIRE SERV CONTL Y/N | UNIT FIRE SERV CONTL Y/N
UNIT HOISTWAY DIMENSIONS | UNIT HOISTWAY DIMENSIONS
UNIT VERTICAL TRAVEL (FT) | UNIT VERTICAL TRAVEL (FT)
UNIT-# OF STOPS(FLR SRVD) | UNIT-# OF STOPS(FLR SRVD)
VENDOR | VENDOR
VOLTAGE RATING | VOLTAGE RATING
DRY CAR WEIGHT | DRY CAR WEIGHT
M133 FLUID SERVICE | M133 FLUID SERVICE
M33 MAWP | MAWP
M40 INLET, CONNECTN (FLANG SZ) | Inlet size, connection (flange size)
M41 OUTLET, CONNCTN (FLANG SZ) | Outlet size, connection (flange size)
M42 SETPOINT (PRESSURE, TEMP) | setpoint
T-93 VN-LOCATE | T-93 VN-LOCATE
T-95 VN-PIPING | T-95 VN-PIPING
T01 CAPACITY | T01 CAPACITY
T02 CPCDATASRC | T02 CPCDATASRC
T03 FUNCTION | T03 FUNCTION
T04 MFGYEAR | T04 MFGYEAR
T05 MFGYEARSRC | T05 MFGYEARSRC
T06 PRESSURE | T06 PRESSURE
T07 TAGNUMBER | T07 TAGNUMBER
T08 BLNKTGAS | T08 BLNKTGAS
T09 JACKETED | T09 JACKETED
T10 MF-PLATE | T10 MF-PLATE
T11 MFP-PHOTO | T11 MFP-PHOTO
T12 MOVEABLE | T12 MOVEABLE
T13 STATUS | T13 STATUS
T14 TANKMATL | T14 TANKMATL
T15 CONT-CAT1 | T15 CONT-CAT1
T16 CONT-CAT2 | T16 CONT-CAT2
T17 CONT-CAT3 | T17 CONT-CAT3
T18 CONTENTS1 | T18 CONTENTS1
T19 CONTENTS2 | T19 CONTENTS2
T20 CONTENTS3 | T20 CONTENTS3
T21 COLLDATE | T21 COLLDATE
T22 EDIT-TIME | T22 EDIT-TIME
T23 EDITFLAG | T23 EDITFLAG
T24 FM REP | T24 FM REP
T25 INSPECTOR | T25 INSPECTOR
T26 LASTEDIT | T26 LASTEDIT
T27 NOTINLISTS | T27 NOTINLISTS
T28 QCLEARANCE | T28 QCLEARANCE
T29 HAZRELEASE | T29 HAZRELEASE
T30 HAZSTORAGE | T30 HAZSTORAGE
T31 HAZWSTPULL | T31 HAZWSTPULL
T32 LAST USED | T32 LAST USED
T33 PCTFULL | T33 PCTFULL
T34 USABLE | T34 USABLE
T35 WASRELEASE | T35 WASRELEASE
T36 ARELEAKS | T36 ARELEAKS
T37 GWMONITOR | T37 GWMONITOR
T38 ISBWMONTR | T38 ISBWMONTR
T39 ISOVERFLOW | T39 ISOVERFLOW
T40 LEAKS | T40 LEAKS
T41 OVERFLOWS | T41 OVERFLOWS
T42 TANKMONTR | T42 TANKMONTR
T43 OTHERID | T43 OTHERID
T44 PADSTRUCT | T44 PADSTRUCT
T45 PROPNUM | T45 PROPNUM
T46 SC STRUCT | T46 SC STRUCT
T47 TANKSTRUCT | T47 TANKSTRUCT
T48 BUILDING | T48 BUILDING
T48 BULDING | T48 BULDING
T49 FLOOR | T49 FLOOR
T50 INBUILDING | T50 INBUILDING
T51 INEQUIP | T51 INEQUIP
T52 ROOM | T52 ROOM
T53 T-UGROUND | T53 T-UGROUND
T54 WING | T54 WING
T55 ER | T55 ER
T56 LOCALDOC | T56 LOCALDOC
T57 NEWFMU | T57 NEWFMU
T58 OLDFMU | T58 OLDFMU
T59 OWNER | T59 OWNER
T60 PRS-ID | T60 PRS-ID
T61 TA | T61 TA
T62 PIPEMATL | T62 PIPEMATL
T63 PIPENOTES | T63 PIPENOTES
T64 PIPEPROTCT | T64 PIPEPROTCT
T65 PIPEUGRND | T65 PIPEUGRND
T66 CURROPPRES | T66 CURROPPRES
T67 CURRTEMP | T67 CURRTEMP
T68 LASTPVINSP | T68 LASTPVINSP
T69 LASTPRVINSP | T69 LASTPRVINSP
T70 MAWP | T70 MAWP
T71 MOP | T71 MOP
T72 PVCONTACT | T72 PVCONTACT
T73 RAD-BASE | T73 RAD-BASE
T74 RAD-DRAINS | T74 RAD-DRAINS
T75 RAD-LIQDET | T75 RAD-LIQDET
T76 RAD-NOTES | T76 RAD-NOTES
T77 RAD-SPLPRV | T77 RAD-SPLPRV
T78 RAD-SWTRCT | T78 RAD-SWTRCT
T79 RAD-SWTRMN | T79 RAD-SWTRMN
T80 SC-HASMNTR | T80 SC-HASMNTR
T81 SC-MONITOR | T81 SC-MONITOR
T82 SC-NEEDED | T82 SC-NEEDED
T83 SC-TYPE1 | T83 SC-TYPE1
T84 SC-TYPE2 | T84 SC-TYPE2
T85 SC-VALVE | T85 SC-VALVE
T86 COMMENTS | T86 COMMENTS
T87 CORROSION | T87 CORROSION
T88 ISCORRODED | T88 ISCORRODED
T89 ISVULNBLE | T89 ISVULNBLE
T90 REVIEWSTAT | T90 REVIEWSTAT
T91 VN-CONDITN | T91 VN-CONDITN
T92 VN-INFO | T92 VN-INFO
T93 VN-LOCATE | T93 VN-LOCATE
T94 VN-MONITOR | T94 VN-MONITOR
T95 VN-PIPING | T95 VN-PIPING
T96 VN-SC | T96 VN-SC
T97 VULNBLTIES | T97 VULNBLTIES
TA50 INBUILDING | TA50 INBUILDING
TA51 INEQUIP | TA51 INEQUIP

## AIR CIRCUIT BREAKER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E06 AMPERE RATING |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E83 NRTL LBL-CIR BKR TRIP UNI |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E79 MGR-CIRCUIT BKR TRIP UNIT |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E80 MOD/CAT#-CIRCUIT BKR TRIP |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E81 SER#-CIRCUIT BKR TRIP UNIT |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E82 AMP RATING-CIR BKR TRIP UN |  |  | N
WORK MGT | PARAM | AIR CIRCUIT BREAKER | E11 NRTL LABEL? YES / NO |  |  | N

## AIR CONDITIONER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | AIR CONDITIONER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M42 SETPOINT (PRESSURE, TEMP) |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M64 PRESSURE / TEMP RATING |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M65 INLET / OUTLET PRESSURE |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M82 THERMAL CAPACITY (TONS) |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M98 CONDENSR TYPE, WATER, AIR |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M99 REFRIGERANT TYPE |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E71 FAN AMPS |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E70 FAN PHASE |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E69 FAN VOLTAGE |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E45 FRAME |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E43 PHASE |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | AIR CONDITIONER | M03 SERIAL NUMBER |  |  | N

## AIR CONDITIONER, REFRIG (ACR)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | AIR CONDITIONER, REFRIG (ACR) | M134 REFRIG LEVEL LOW |  |  | N
WORK MGT | PARAM | AIR CONDITIONER, REFRIG (ACR) | M133 FLUID SERVICE |  |  | N

## AIR WASH
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | AIR WASH | M67 INLET / OUTLET TEMPS |  |  | N
WORK MGT | PARAM | AIR WASH | M68 SPRAY NOZZELS-TYPE/NUMBER |  |  | N
WORK MGT | PARAM | AIR WASH | M65 INLET / OUTLET PRESSURE |  |  | N
WORK MGT | PARAM | AIR WASH | M55 MEDIA |  |  | N
WORK MGT | PARAM | AIR WASH | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | AIR WASH | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | AIR WASH | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | AIR WASH | M05 SIZE |  |  | N
WORK MGT | PARAM | AIR WASH | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | AIR WASH | M01 MANUFACTURER |  |  | N

## BACK FLOW PREVENTER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | BACK FLOW PREVENTER | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M106 END CONNECTION-FLANG/THRD |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M105 DATE OF MANFACTURER |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M104 MAX. WORKING WATER PRESSU |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M103 MAX. WORKING WATER TEMP. |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M33 MAWP |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M05 SIZE |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M04 TYPE |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | BACK FLOW PREVENTER | M07 RATED CAP (GPM/CFM) |  |  | N

## BOILER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | BOILER | M49 UL LISTED? |  |  | N
WORK MGT | PARAM | BOILER | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | BOILER | M43 NORMAL OP PRESSURE, TEMP |  |  | N
WORK MGT | PARAM | BOILER | M35 ASME CODE |  |  | N
WORK MGT | PARAM | BOILER | M33 MAWP |  |  | N
WORK MGT | PARAM | BOILER | M05 SIZE |  |  | N
WORK MGT | PARAM | BOILER | M04 TYPE |  |  | N
WORK MGT | PARAM | BOILER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | BOILER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | BOILER | M74 PRESSURE RELIEF VALVE |  |  | N

## BUS DUCT
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | BUS DUCT | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | BUS DUCT | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | BUS DUCT | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | BUS DUCT | E04 TYPE/STYLE |  |  | N
WORK MGT | PARAM | BUS DUCT | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | BUS DUCT | E06 AMPERE RATING |  |  | N
WORK MGT | PARAM | BUS DUCT | E07 BUS AIC RATING |  |  | N
WORK MGT | PARAM | BUS DUCT | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | BUS DUCT | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | BUS DUCT | E13 AVAIL FAULT A.@BUS 3PH BLT |  |  | N
WORK MGT | PARAM | BUS DUCT | E14 AVAIL FAULT A.@BUS PH-GND |  |  | N
WORK MGT | PARAM | BUS DUCT | E18 FEEDER: CONDUIT SIZE |  |  | N
WORK MGT | PARAM | BUS DUCT | E19 FEEDER: CONDUIT TYPE |  |  | N
WORK MGT | PARAM | BUS DUCT | E20 FEEDER: NO OF CONDUITS |  |  | N
WORK MGT | PARAM | BUS DUCT | E21 FEEDER: WIRES PER PHASE |  |  | N
WORK MGT | PARAM | BUS DUCT | E22 FEEDER: WIRE SIZE |  |  | N
WORK MGT | PARAM | BUS DUCT | E23 MAIN DEVICE AMP RATING |  |  | N
WORK MGT | PARAM | BUS DUCT | E26 MAIN DEVICE CATALOG NUMBER |  |  | N
WORK MGT | PARAM | BUS DUCT | E27 MAIN DEVICE MANUFACTURER |  |  | N
WORK MGT | PARAM | BUS DUCT | E28 MAIN DEVICE TYPE (MLO/MCB) |  |  | N
WORK MGT | PARAM | BUS DUCT | E32 NUMBER OF PHASES |  |  | N
WORK MGT | PARAM | BUS DUCT | E33 NUMBER OF WIRES |  |  | N

## CHILLER, WATER, REFRIGERANT (C
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | CHILLER, WATER, REFRIGERANT (C | M146 HIGH PSIG |  |  | N
WORK MGT | PARAM | CHILLER, WATER, REFRIGERANT (C | M150 MIN CIRCUIT AMP |  |  | N
WORK MGT | PARAM | CHILLER, WATER, REFRIGERANT (C | M149 MAX MOTOR VOLT AC |  |  | N
WORK MGT | PARAM | CHILLER, WATER, REFRIGERANT (C | M148 MAX OVERCURRENT |  |  | N
WORK MGT | PARAM | CHILLER, WATER, REFRIGERANT (C | M147 LOW PSIG |  |  | N

## COMPRESSORS DRYERS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | COMPRESSORS/DRYERS | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E45 FRAME |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M74 PRESSURE RELIEF VALVE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M04 TYPE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M05 SIZE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M25 SUCTION SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M26 DISHARGE SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M28 INLET FILTER TYPE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M29 COOLING TYPE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M33 MAWP |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M51 SEPARATOR FILTER |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M69 OUTLET FILTER TYPE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E43 PHASE |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | COMPRESSORS/DRYERS | M01 MANUFACTURER |  |  | N

## COOLING TOWER (TC)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | COOLING TOWER (TC) | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | COOLING TOWER (TC) | M135 MIN TEMPERATURE |  |  | N

## CRANE
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | CRANE | M96 TROLLY MODEL |  |  | N
WORK MGT | PARAM | CRANE | M97 TROLLY SERIAL NUMBER |  |  | N
WORK MGT | PARAM | CRANE | M95 TROLLY MANUFACTURER |  |  | N
WORK MGT | PARAM | CRANE | M94 BRIDGE SERIAL NUMBER |  |  | N
WORK MGT | PARAM | CRANE | M93 BRIDGE MODEL |  |  | N
WORK MGT | PARAM | CRANE | M92 BRIDGE MANUFACTURER |  |  | N
WORK MGT | PARAM | CRANE | M91 HOIST SERIAL NUMBER |  |  | N
WORK MGT | PARAM | CRANE | M90 HOIST MODEL |  |  | N
WORK MGT | PARAM | CRANE | M89 HOIST MANUFACTURER |  |  | N
WORK MGT | PARAM | CRANE | M88 HOOK TYPE |  |  | N
WORK MGT | PARAM | CRANE | M87 WIRE/CHAIN SIZE |  |  | N
WORK MGT | PARAM | CRANE | M86 WIRE/CHAIN TYPE |  |  | N
WORK MGT | PARAM | CRANE | M85 WIRE/CHAIN LENGTH |  |  | N
WORK MGT | PARAM | CRANE | M84 HOOK SIZE |  |  | N
WORK MGT | PARAM | CRANE | M83 CAPACITY, LOAD (TONS) |  |  | N
WORK MGT | PARAM | CRANE | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | CRANE | M102 SAFETY SWITCHES |  |  | N
WORK MGT | PARAM | CRANE | M101 LIMITS |  |  | N
WORK MGT | PARAM | CRANE | M100 HOIST TYPE |  |  | N
WORK MGT | PARAM | CRANE | M04 TYPE |  |  | N
WORK MGT | PARAM | CRANE | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | CRANE | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | CRANE | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | CRANE | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | CRANE | E45 FRAME |  |  | N
WORK MGT | PARAM | CRANE | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | CRANE | E43 PHASE |  |  | N
WORK MGT | PARAM | CRANE | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | CRANE | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | CRANE | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N

## DOORS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | DOORS | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | DOORS | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | DOORS | M78 RATING (FIRE) |  |  | N
WORK MGT | PARAM | DOORS | M61 ACTIVATION |  |  | N
WORK MGT | PARAM | DOORS | M53 FRAME MATL (WOOD, METAL) |  |  | N
WORK MGT | PARAM | DOORS | M49 UL LISTED? |  |  | N
WORK MGT | PARAM | DOORS | M05 SIZE |  |  | N
WORK MGT | PARAM | DOORS | M04 TYPE |  |  | N

## ELECTRICAL EQUIPMENT
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E10 KVA RATING |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E71 FAN AMPS |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E43 PHASE |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E33 NUMBER OF WIRES |  |  | N
WORK MGT | PARAM | ELECTRICAL EQUIPMENT | E12 PERCENT Z |  |  | N

## ELEVATOR (HYDRAULIC)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | BRAKE MOTOR HP & MAX. RPM |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CAR BUFFER(S):MFGR/PART# |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CAR BUFFER(S):TYPE/# UNIT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CAR EMERGENCY TEL # |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CAR/UNIT ASSY-HANDICAPPED? |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CODE YEAR |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | CYLINDER SZ-LENGTH & DIA |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | INSTALLATION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | LUBE :WIRE ROPE GRADE/WT. |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | LUBE TYPE:SURFAC GRADE/WT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | MODEL/CAT. NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | OIL BY-PASS&REG VLV MFR |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | OIL RESV-MTL, SZ & CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | OIL-BRAND, TYPE & WT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | T68 LASTPVINSP |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT CONTLS-MFR & TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT CAR DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT FIRE SERV CONTL Y/N |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT HOISTWAY DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT VERTICAL TRAVEL (FT) |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | UNIT-# OF STOPS(FLR SRVD) |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | VOLTAGE RATING |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | DRY CAR WEIGHT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | PASSENGER CAR LTS-TYP & SZ |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | PUMP CAPACITY-GPM |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | RATED CAPACITY |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | SAFETY(IES)-TYPE & CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E43 PHASE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E74 PASSENGER CAR LTS-TYP & SZ |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E75 UNIT CONTLS-MFR & TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E76 UNIT FIRE SERV CONTL Y/N |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E77 CAR EMERGENCY TEL # |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | E78 CAR/UNIT ASSY-HANDICAPPED? |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M04 TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M107 CAR BUFFER(S):TYPE/# UNIT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M108 CAR BUFFER(S):MFGR/PART# |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M109 LAST INSPECTION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M110 CYLINDER SZ-LENGTH & DIA |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M111 PUMP CAPACITY-GPM |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M112 OIL BY-PASS&REG VLV MFR |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M113 OIL-BRAND, TYPE & WT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M114 OIL RESV-MTL, SZ & CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M115 SAFETY(IES)-TYPE & CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M116 UNIT CAR DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M117 UNIT VERTICAL TRAVEL (FT) |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M118 UNIT-# OF STOPS(FLR SRVD) |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M119 UNIT HOISTWAY DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M122 LUBE TYPE:SURFAC GRADE/WT |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M123 LUBE :WIRE ROPE GRADE/WT. |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M132 RATED CAPACITY |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | PHASE |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (HYDRAULIC) | SERIAL # |  |  | N

## ELEVATOR (TRACTION)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | ELEVATOR (TRACTION) | GOVRNR WIR ROP:L/SZ/MTRL |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT CONTLS-MFR & TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT CAR DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT FIRE SERV CONTL Y/N |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT HOISTWAY DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT VERTICAL TRAVEL (FT) |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | UNIT-# OF STOPS(FLR SRVD) |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | VOLTAGE RATING |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | DRY CAR WEIGHT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | BRAKE MOTOR MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | GOVRNR WIRE ROPE:MFGR/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | INSTALLATION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | LUBE :WIRE ROPE GRADE/WT. |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | LUBE TYPE:SURFAC GRADE/WT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | MODEL/CAT. NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | PASSENGER CAR LTS-TYP & SZ |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | RATED CAPACITY |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | MAIN WIRE ROPE:MFGR/PT # |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | MAIN WIRE:LNGTH/SZ/MATERL |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | PHASE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | SERIAL # |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | SHEAVE SIZE/WIRE ROPE CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | TRACTION TYPE SHEAVE MFGR |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | BRAKE MOTOR HP & MAX. RPM |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CAR BUFFER(S):MFGR/PART# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CAR BUFFER(S):TYPE/# UNIT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CAR EMERGENCY TEL # |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CAR/UNIT ASSY-HANDICAPPED? |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CODE YEAR |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CB WIRE ROPE:MFG TYPE/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | CB: BUFFER TYPE/#-SZ WTS. |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | COUNTER BALANC:#/SIZE WT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | COUNTER BALANCE: MFGR/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E78 CAR/UNIT ASSY-HANDICAPPED? |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E90 BRAKE MOTOR MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M04 TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M107 CAR BUFFER(S):TYPE/# UNIT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M108 CAR BUFFER(S):MFGR/PART# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M109 LAST INSPECTION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M116 UNIT CAR DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M117 UNIT VERTICAL TRAVEL (FT) |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M118 UNIT-# OF STOPS(FLR SRVD) |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M119 UNIT HOISTWAY DIMENSIONS |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M120 TRACTION TYPE SHEAVE MFGR |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M121 SHEAVE SIZE/WIRE ROPE CAP |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M122 LUBE TYPE:SURFAC GRADE/WT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M123 LUBE :WIRE ROPE GRADE/WT. |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M124 MAIN WIRE ROPE:MFGR/PT # |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M125 MAIN WIRE:LNGTH/SZ/MATERL |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M126 GOVRNR WIRE ROPE:MFGR/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M127 GOVRNR WIR ROP:L/SZ/MTRL |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M128 COUNTER BALANCE: MFGR/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M129 COUNTER BALANC:#/SIZE WT |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M130 CB WIRE ROPE:MFG TYPE/PT# |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M131 CB: BUFFER TYPE/#-SZ WTS. |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M132 RATED CAPACITY |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E43 PHASE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E74 PASSENGER CAR LTS-TYP & SZ |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E75 UNIT CONTLS-MFR & TYPE |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E76 UNIT FIRE SERV CONTL Y/N |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E77 CAR EMERGENCY TEL # |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | E91 BRAKE MOTOR HP & MAX. RPM |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ELEVATOR (TRACTION) | DAY CAR WEIGHT |  |  | N

## ENCLOSURE
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | ENCLOSURE | M70 ATMOSPHERE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M71 SINK/DRAIN |  |  | N
WORK MGT | PARAM | ENCLOSURE | M45 DRAWING REFERENCE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M28 INLET FILTER TYPE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M27 INLET VALVE/DAMPER TYPE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M26 DISHARGE SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | ENCLOSURE | M25 SUCTION SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | ENCLOSURE | M05 SIZE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M04 TYPE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | ENCLOSURE | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | ENCLOSURE | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | ENCLOSURE | M77 INSTRUMENTATION |  |  | N
WORK MGT | PARAM | ENCLOSURE | M76 SHIELDING |  |  | N
WORK MGT | PARAM | ENCLOSURE | M75 COATING |  |  | N
WORK MGT | PARAM | ENCLOSURE | M74 PRESSURE RELIEF VALVE |  |  | N
WORK MGT | PARAM | ENCLOSURE | M73 FIRE SUPPRESSION |  |  | N
WORK MGT | PARAM | ENCLOSURE | M72 FIRE DETECTION |  |  | N
WORK MGT | PARAM | ENCLOSURE | M69 OUTLET FILTER TYPE |  |  | N

## EVAPORATIVE CHILLER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | EVAPORATIVE CHILLER | M67 INLET / OUTLET TEMPS |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M68 SPRAY NOZZELS-TYPE/NUMBER |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M10 BELT TYPE/SIZE/QTY |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M05 SIZE |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E45 FRAME |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E43 PHASE |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | EVAPORATIVE CHILLER | M65 INLET / OUTLET PRESSURE |  |  | N

## FAN
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | FAN | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | FAN | M27 INLET VALVE/DAMPER TYPE |  |  | N
WORK MGT | PARAM | FAN | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | FAN | E43 PHASE |  |  | N
WORK MGT | PARAM | FAN | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | FAN | E45 FRAME |  |  | N
WORK MGT | PARAM | FAN | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | FAN | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | FAN | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | FAN | M04 TYPE |  |  | N
WORK MGT | PARAM | FAN | M05 SIZE |  |  | N
WORK MGT | PARAM | FAN | M06 STATIC PRESSURE |  |  | N
WORK MGT | PARAM | FAN | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | FAN | M10 BELT TYPE/SIZE/QTY |  |  | N
WORK MGT | PARAM | FAN | M11 WHEEL MFG/PN/TYPE/DIA |  |  | N
WORK MGT | PARAM | FAN | M12 WHL BUSHNG MFG/PN/TYPE/DIA |  |  | N
WORK MGT | PARAM | FAN | M13 SHEAVE MFG/PN/TYPE/SIZE |  |  | N
WORK MGT | PARAM | FAN | M14 SHVE BUSHNG MFG/PN/TYPE/SZ |  |  | N
WORK MGT | PARAM | FAN | M15 IN BOARD BEARING MFG |  |  | N
WORK MGT | PARAM | FAN | M16 IN BOARD BEARING TYPE/SZ |  |  | N
WORK MGT | PARAM | FAN | M17 OUT BOARD BEARING MFG |  |  | N
WORK MGT | PARAM | FAN | M18 OUT BOARD BEARING TYPE/SZ |  |  | N
WORK MGT | PARAM | FAN | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | FAN | M20 SHAFT DIA/LENGTH/MATERIAL |  |  | N
WORK MGT | PARAM | FAN | M21 SHAFT KEYWAY DIMENSIONS |  |  | N
WORK MGT | PARAM | FAN | M22 COUPLING MFG/TYPE/SIZE |  |  | N
WORK MGT | PARAM | FAN | M23 VIBE TRANS MDL/PN/SENSTVY |  |  | N
WORK MGT | PARAM | FAN | M24 MOUNTING TYPE/BASE |  |  | N
WORK MGT | PARAM | FAN | M25 SUCTION SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | FAN | M26 DISHARGE SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | FAN | E41 VOLTAGE RATING |  |  | N

## FAN, COOLING TOWER (FCT)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | FAN, COOLING TOWER (FCT) | M135 MIN TEMPERATURE |  |  | N
WORK MGT | PARAM | FAN, COOLING TOWER (FCT) | M47 MAX TEMPERATURE |  |  | N

## FILTER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | FILTER | M57 HOUSING TYPE (BAGOUT,WLKIN |  |  | N
WORK MGT | PARAM | FILTER | M58 TESTABLE? |  |  | N
WORK MGT | PARAM | FILTER | M59 CHEMICAL RESISTANT? |  |  | N
WORK MGT | PARAM | FILTER | M05 SIZE |  |  | Y
WORK MGT | PARAM | FILTER | M06 STATIC PRESSURE |  |  | N
WORK MGT | PARAM | FILTER | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | FILTER | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | FILTER | M37 SEAT/SEAL MATERIAL |  |  | N
WORK MGT | PARAM | FILTER | M45 DRAWING REFERENCE |  |  | N
WORK MGT | PARAM | FILTER | M49 UL LISTED? |  |  | N
WORK MGT | PARAM | FILTER | M50 GAUGE RANGE(S) |  |  | N
WORK MGT | PARAM | FILTER | M52 EFFICIENCY (%, PARTICLE SZ |  |  | N
WORK MGT | PARAM | FILTER | M53 FRAME MATL (WOOD, METAL) |  |  | N
WORK MGT | PARAM | FILTER | M54 GASKET TYPE LOCATION |  |  | N
WORK MGT | PARAM | FILTER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | FILTER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | FILTER | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | FILTER | M04 TYPE |  |  | Y
WORK MGT | PARAM | FILTER | M55 MEDIA |  |  | N
WORK MGT | PARAM | FILTER | M56 SEPERATOR TYPE |  |  | N

## FIRE EQUIPMENT
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | FIRE EQUIPMENT | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | FIRE EQUIPMENT | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | FIRE EQUIPMENT | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | FIRE EQUIPMENT | M04 TYPE |  |  | N
WORK MGT | PARAM | FIRE EQUIPMENT | M05 SIZE |  |  | N
WORK MGT | PARAM | FIRE EQUIPMENT | M79 NFPA APPROVAL? |  |  | N

## FIRE PROTECTION
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | FIRE PROTECTION | DACS |  |  | N
WORK MGT | PARAM | FIRE PROTECTION | FP SPECIAL SYSTEM |  |  | N
WORK MGT | PARAM | FIRE PROTECTION | FP SUBPANEL |  |  | N
WORK MGT | PARAM | FIRE PROTECTION | SPRINKLERS |  |  | N

## GAUGE
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | GAUGE | M50 GAUGE RANGE(S) |  |  | N
WORK MGT | PARAM | GAUGE | M42 SETPOINT (PRESSURE, TEMP) |  |  | N
WORK MGT | PARAM | GAUGE | M34 SERVICE (LIQUID,GAS,STEAM) |  |  | N
WORK MGT | PARAM | GAUGE | M33 MAWP |  |  | N
WORK MGT | PARAM | GAUGE | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | GAUGE | M04 TYPE |  |  | N
WORK MGT | PARAM | GAUGE | M58 TESTABLE? |  |  | N
WORK MGT | PARAM | GAUGE | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | GAUGE | M05 SIZE |  |  | N

## GENERIC
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | GENERIC | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | GENERIC | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | GENERIC | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | GENERIC | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | GENERIC | M43 NORMAL OP PRESSURE/TEMP |  |  | N
WORK MGT | PARAM | GENERIC | P/N |  |  | N
WORK MGT | PARAM | GENERIC | SERIAL # |  |  | N
WORK MGT | PARAM | GENERIC | VENDOR |  |  | N
WORK MGT | PARAM | GENERIC | OWNER (GROUP) |  |  | N
WORK MGT | PARAM | GENERIC | DOCUMENTATION LOCATION |  |  | N
WORK MGT | PARAM | GENERIC | DRAWING NBR |  |  | N
WORK MGT | PARAM | GENERIC | M64 PRESSURE TEMP RATING |  |  | N

## GLOVE
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | GLOVE | G05 GLOVE THICKNESS (MIL) |  |  | Y
WORK MGT | PARAM | GLOVE | G07 PORT: STANDARD/PUSH THRU |  |  | Y
WORK MGT | PARAM | GLOVE | G06 LEAD LINED: YES OR NO |  |  | Y
WORK MGT | PARAM | GLOVE | G04 MANUFACTURE DATE: GLOVE |  |  | Y
WORK MGT | PARAM | GLOVE | G03 GLOVE: HAPALON OR VITON |  |  | Y
WORK MGT | PARAM | GLOVE | G02 LEFT, RIGHT, OR BOTH |  |  | Y
WORK MGT | PARAM | GLOVE | G01 PORT TYPE |  |  | Y

## HEAT EXCHANGER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | HEAT EXCHANGER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER | M64 PRESSURE / TEMP RATING |  |  | N

## HEAT EXCHANGER (HX)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M142 MAX PRESSURE TUBES |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M141 MAX TEMP SHELL |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M139 MIN METAL TEMP. |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M104 MAX. WORKING WATER PRESSU |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M140 MAX PRESSURE SHELL |  |  | N
WORK MGT | PARAM | HEAT EXCHANGER (HX) | M143 MAX TEMP TUBES |  |  | N

## HEATER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | HEATER | E68 MOTOR SEAL NUMBER |  |  | N
WORK MGT | PARAM | HEATER | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | HEATER | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | HEATER | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | HEATER | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | HEATER | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | HEATER | M60 HEIGHT ABOVE FLOOR |  |  | N
WORK MGT | PARAM | HEATER | M64 PRESSURE / TEMP RATING |  |  | N
WORK MGT | PARAM | HEATER | M80 CAPACITY, HEATING (BTU) |  |  | N
WORK MGT | PARAM | HEATER | M81 THERMOCOUPLE MANUFACTURER |  |  | N
WORK MGT | PARAM | HEATER | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HEATER | E43 PHASE |  |  | N
WORK MGT | PARAM | HEATER | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HEATER | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | HEATER | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HEATER | E67 MOTOR MODEL NUMBER |  |  | N
WORK MGT | PARAM | HEATER | E66 MOTOR MANUFACTURER |  |  | N
WORK MGT | PARAM | HEATER | E58 INSULATION CLASS (CODE) |  |  | N
WORK MGT | PARAM | HEATER | E54 SF (SERVICE FACTOR) |  |  | N
WORK MGT | PARAM | HEATER | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | HEATER | E45 FRAME |  |  | N
WORK MGT | PARAM | HEATER | E52 LUBRICATION TYPE WEIGHT |  |  | N

## HEATING, VENT, AIR CON (HVA)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | HEATING, VENT, AIR CON (HVA) | M144 MAX PRESSURE PSI |  |  | N
WORK MGT | PARAM | HEATING, VENT, AIR CON (HVA) | M145 MIN PRESSURE PSI |  |  | N

## HOIST
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | HOIST | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HOIST | M91 HOIST SERIAL NUMBER |  |  | N
WORK MGT | PARAM | HOIST | M90 HOIST MODEL |  |  | N
WORK MGT | PARAM | HOIST | M89 HOIST MANUFACTURER |  |  | N
WORK MGT | PARAM | HOIST | M88 HOOK TYPE |  |  | N
WORK MGT | PARAM | HOIST | M87 WIRE/CHAIN SIZE |  |  | N
WORK MGT | PARAM | HOIST | M86 WIRE/CHAIN TYPE |  |  | N
WORK MGT | PARAM | HOIST | M85 WIRE/CHAIN LENGTH |  |  | N
WORK MGT | PARAM | HOIST | M84 HOOK SIZE |  |  | N
WORK MGT | PARAM | HOIST | M83 CAPACITY, LOAD (TONS) |  |  | N
WORK MGT | PARAM | HOIST | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | HOIST | M102 SAFETY SWITCHES |  |  | N
WORK MGT | PARAM | HOIST | M101 LIMITS |  |  | N
WORK MGT | PARAM | HOIST | M100 HOIST TYPE |  |  | N
WORK MGT | PARAM | HOIST | M04 TYPE |  |  | N
WORK MGT | PARAM | HOIST | E45 FRAME |  |  | N
WORK MGT | PARAM | HOIST | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HOIST | E43 PHASE |  |  | N
WORK MGT | PARAM | HOIST | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | HOIST | E41 VOLTAGE RATING |  |  | N

## MOTOR
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | MOTOR | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | MOTOR | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | MOTOR | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | MOTOR | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | MOTOR | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | MOTOR | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | MOTOR | E43 PHASE |  |  | N
WORK MGT | PARAM | MOTOR | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | MOTOR | E45 FRAME |  |  | N
WORK MGT | PARAM | MOTOR | E46 MTR SHVE MFG/PN/TYPE/SZ |  |  | N
WORK MGT | PARAM | MOTOR | E47 MTR SHVE BUSH MFG/PN/TP/SZ |  |  | N
WORK MGT | PARAM | MOTOR | E48 BEARING #2 -SHAFT END MFG |  |  | N
WORK MGT | PARAM | MOTOR | E49 BEARING #2 SHAFT TYPE/SIZE |  |  | N
WORK MGT | PARAM | MOTOR | E50 BEARING #1 -OPP END MFG |  |  | N
WORK MGT | PARAM | MOTOR | E51 BEARING #1 -OPP END TP/SZ |  |  | N
WORK MGT | PARAM | MOTOR | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | MOTOR | E53 MOTOR ROTATION |  |  | N
WORK MGT | PARAM | MOTOR | E54 SF (SERVICE FACTOR) |  |  | N
WORK MGT | PARAM | MOTOR | E55 FUSE TYPE/SIZE |  |  | N
WORK MGT | PARAM | MOTOR | E56 CONTACT RATING |  |  | N
WORK MGT | PARAM | MOTOR | E57 WINDINGS (1 OR 2) |  |  | N
WORK MGT | PARAM | MOTOR | E58 INSULATION CLASS (CODE) |  |  | N

## MOTOR CONTROL CENTER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | MOTOR CONTROL CENTER | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E04 TYPE/STYLE |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E06 AMPERE RATING |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E07 BUS AIC RATING |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E13 AVAIL FAULT A.@BUS 3PH BLT |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E14 AVAIL FAULT A.@BUS PH-GND |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E18 FEEDER: CONDUIT SIZE |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E19 FEEDER: CONDUIT TYPE |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E20 FEEDER: NO OF CONDUITS |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E21 FEEDER: WIRES PER PHASE |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E22 FEEDER: WIRE SIZE |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E23 MAIN DEVICE AMP RATING |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E26 MAIN DEVICE CATALOG NUMBER |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E27 MAIN DEVICE MANUFACTURER |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E28 MAIN DEVICE TYPE (MLO/MCB) |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E32 NUMBER OF PHASES |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E33 NUMBER OF WIRES |  |  | N
WORK MGT | PARAM | MOTOR CONTROL CENTER | E84 PLC MANUFACTURER |  |  | N

## MOTOR PARAM ASSOCIATED W PUMPS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | FRAME |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | MANUFACTURER |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | MODEL # OF MOTOR |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | MOTOR SIZE - HP |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | AMPS |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | RPM |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | SERIAL # OF MOTOR |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | VOLTAGE (VOLTS) |  |  | N
WORK MGT | PARAM | MOTOR PARAM ASSOCIATED W/PUMPS | PHASE |  |  | N

## PANELBOARD
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PANELBOARD | E32 NUMBER OF PHASES |  |  | N
WORK MGT | PARAM | PANELBOARD | E33 NUMBER OF WIRES |  |  | N
WORK MGT | PARAM | PANELBOARD | E30 MOUNTG TP (FLUSH/SURFACE) |  |  | N
WORK MGT | PARAM | PANELBOARD | E28 MAIN DEVICE TYPE (MLO/MCB) |  |  | N
WORK MGT | PARAM | PANELBOARD | E27 MAIN DEVICE MANUFACTURER |  |  | N
WORK MGT | PARAM | PANELBOARD | E26 MAIN DEVICE CATALOG NUMBER |  |  | N
WORK MGT | PARAM | PANELBOARD | E23 MAIN DEVICE AMP RATING |  |  | N
WORK MGT | PARAM | PANELBOARD | E22 FEEDER: WIRE SIZE |  |  | N
WORK MGT | PARAM | PANELBOARD | E21 FEEDER: WIRES PER PHASE |  |  | N
WORK MGT | PARAM | PANELBOARD | E20 FEEDER: NO OF CONDUITS |  |  | N
WORK MGT | PARAM | PANELBOARD | E19 FEEDER: CONDUIT TYPE |  |  | N
WORK MGT | PARAM | PANELBOARD | E18 FEEDER: CONDUIT SIZE |  |  | N
WORK MGT | PARAM | PANELBOARD | E14 AVAIL FAULT A.@BUS PH-GND |  |  | N
WORK MGT | PARAM | PANELBOARD | E13 AVAIL FAULT A.@BUS 3PH BLT |  |  | N
WORK MGT | PARAM | PANELBOARD | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | PANELBOARD | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | PANELBOARD | E07 BUS AIC RATING |  |  | N
WORK MGT | PARAM | PANELBOARD | E06 AMPERE RATING |  |  | N
WORK MGT | PARAM | PANELBOARD | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | PANELBOARD | E04 TYPE/STYLE |  |  | N
WORK MGT | PARAM | PANELBOARD | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | PANELBOARD | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | PANELBOARD | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | PANELBOARD | E31 NUMBER OF CURCUITS |  |  | N

## PRESSURE REGULATING VALVES
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M36 BODY MATERIAL |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M34 SERVICE (LIQUID,GAS,STEAM) |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M45 DRAWING REFERENCE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M46 MAX INLET PRESSURE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M48 DELIVERY PRESSURE/ RANGE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M49 UL LISTED? |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M50 GAUGE RANGE(S) |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M04 TYPE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M05 SIZE |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M37 SEAT/SEAL MATERIAL |  |  | N
WORK MGT | PARAM | PRESSURE REGULATING VALVES | M133 FLUID SERVICE |  |  | N

## PRESSURE VESSELS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PRESSURE VESSELS | CHEMICAL NAME |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | INTERNAL INSPECTION |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | T07 TAGNUMBER |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | MAINTENANCE FREQUENCY |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | MFG |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | T70 MAWP |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | T71 MOP |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | PM |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M33 MAWP |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | MANUFACTURER |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M133 FLUID SERVICE |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M39 ORIFICE SIZE |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | EXTERNAL INSPECTION |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | MAINTENACE FREQUENCY |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M34 SERVICE (LIQUID,GAS,STEAM) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M45 DRAWING REFERENCE |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M32 VESSEL # |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | M42 SETPOINT (PRESSURE, TEMP) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | INTERNAL INSPECTION (Y/N) |  |  | N
WORK MGT | PARAM | PRESSURE VESSELS | EXTERNAL INSPECTION (Y/N) |  |  | N

## PRESURE SAFETY VALVE
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PRESURE SAFETY VALVE | M45 DRAWING REFERENCE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M43 NORMAL OP PRESSURE, TEMP |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M42 SETPOINT (PRESSURE, TEMP) |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M40 INLET, CONNECTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M39 ORIFICE SIZE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M38 SPRING MATERIAL |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M37 SEAT/SEAL MATERIAL |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M36 BODY MATERIAL |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M35 ASME CODE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M34 SERVICE (LIQUID,GAS,STEAM) |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M33 MAWP |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M32 VESSEL # |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M31 INSTALLATION DATE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M05 SIZE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M04 TYPE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M44 LEVER TYPE |  |  | N
WORK MGT | PARAM | PRESURE SAFETY VALVE | M133 FLUID SERVICE |  |  | N

## PUMP
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PUMP | M29 COOLING TYPE |  |  | N
WORK MGT | PARAM | PUMP | M30 SEAL/OIL SPECIFICATION |  |  | N
WORK MGT | PARAM | PUMP | M51 SEPARATOR FILTER |  |  | N
WORK MGT | PARAM | PUMP | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | PUMP | E40 HORSEPOWER @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | PUMP | E41 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | PUMP | E42 AMPS @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | PUMP | E43 PHASE |  |  | N
WORK MGT | PARAM | PUMP | E44 RPM @ HI/LOW SPEED |  |  | N
WORK MGT | PARAM | PUMP | E45 FRAME |  |  | N
WORK MGT | PARAM | PUMP | E52 LUBRICATION TYPE WEIGHT |  |  | N
WORK MGT | PARAM | PUMP | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | PUMP | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | PUMP | M04 TYPE |  |  | N
WORK MGT | PARAM | PUMP | M05 SIZE |  |  | N
WORK MGT | PARAM | PUMP | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | PUMP | M08 HEAD (FEET) |  |  | N
WORK MGT | PARAM | PUMP | M09 MAX. END VACUUM |  |  | N
WORK MGT | PARAM | PUMP | M19 LUBRICANT TYPE AND WEIGHT |  |  | N
WORK MGT | PARAM | PUMP | M25 SUCTION SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | PUMP | M26 DISHARGE SIZE/CONNECTION |  |  | N
WORK MGT | PARAM | PUMP | M28 INLET FILTER TYPE |  |  | N

## PUMP EQUIP TYPE PARAM
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | SERIAL # |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | RPM |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | MODEL (CARTRIDGE) |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | MAKE |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | IMPELLER (PACK) |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | BEARING # |  |  | N
WORK MGT | PARAM | PUMP EQUIP TYPE PARAM | COUPLING SZ. |  |  | N

## PUMP, COOLING OR CHILLED WATER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PUMP, COOLING OR CHILLED WATER | M152 LOW VAR |  |  | N
WORK MGT | PARAM | PUMP, COOLING OR CHILLED WATER | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | PUMP, COOLING OR CHILLED WATER | M151 HIGH VAR |  |  | N

## PUMP, COOLING TOWER (PCT)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M08 HEAD (FEET) |  |  | N
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M154 MIN FLOW |  |  | N
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M153 AMBIENT TEMP |  |  | N
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M104 MAX. WORKING WATER PRESSU |  |  | N
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | PUMP, COOLING TOWER (PCT) | M135 MIN TEMPERATURE |  |  | N

## PUMP, DEIONIZED WATER (HVA)
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M47 MAX TEMPERATURE |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M135 MIN TEMPERATURE |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M08 HEAD (FEET) |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M138 LUBE CYCLE |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M137 MAX FLOW |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M136 MIN FLOW |  |  | N
WORK MGT | PARAM | PUMP, DEIONIZED WATER (HVA) | M104A MAX WORKING WATER TEMP |  |  | N

## SAFTEY SHOWERS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | SAFETY SHOWERS | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M24 MOUNTING TYPE/BASE |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M60 HEIGHT ABOVE FLOOR |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M61 ACTIVATION |  |  | N
WORK MGT | PARAM | SAFETY SHOWERS | M62 IDENTIFICATION |  |  | N

## STEAM EQUIPMENT
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | STEAM EQUIPMENT | M38 SPRING MATERIAL |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M41 OUTLET, CONNCTN (FLANG SZ) |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M42 SETPOINT (PRESSURE, TEMP) |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M43 NORMAL OP PRESSURE, TEMP |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M63 PILOT TYPE |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M64 PRESSURE / TEMP RATING |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M65 INLET / OUTLET PRESSURE |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M66 SPRING RATING |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M37 SEAT/SEAL MATERIAL |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M36 BODY MATERIAL |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M07 RATED CAP (GPM/CFM) |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M05 SIZE |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M04 TYPE |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M02 MODEL/CAT NUMBER |  |  | N
WORK MGT | PARAM | STEAM EQUIPMENT | M40 INLET, CONNECTN (FLANG SZ) |  |  | N

## SWITCHBOARD
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | SWITCHBOARD | E32 NUMBER OF PHASES |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E33 NUMBER OF WIRES |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E27 MAIN DEVICE MANUFACTURER |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E26 MAIN DEVICE CATALOG NUMBER |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E25 MAIN DEVICE AMP TRIP RATNG |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E24 MAIN DEVICE AMP FRAME RATE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E22 FEEDER: WIRE SIZE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E21 FEEDER: WIRES PER PHASE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E20 FEEDER: NO OF CONDUITS |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E19 FEEDER: CONDUIT TYPE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E18 FEEDER: CONDUIT SIZE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E17 BRNCH DEV MANUFACTURER |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E16 BRNCH DEV CATALOG NO. |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E15 BRNCH DEV AMP FRAME RATING |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E14 AVAIL FAULT A.@BUS PH-GND |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E13 AVAIL FAULT A.@BUS 3PH BLT |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E07 BUS AIC RATING |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E06 AMPERE RATING |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E04 TYPE/STYLE |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | SWITCHBOARD | E28 MAIN DEVICE TYPE (MLO/MCB) |  |  | N

## TANK SURVEY
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | TANK SURVEY | T06 PRESSURE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T07 TAGNUMBER |  |  | N
WORK MGT | PARAM | TANK SURVEY | T08 BLNKTGAS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T09 JACKETED |  |  | N
WORK MGT | PARAM | TANK SURVEY | T10 MF-PLATE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T11 MFP-PHOTO |  |  | N
WORK MGT | PARAM | TANK SURVEY | T12 MOVEABLE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T13 STATUS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T14 TANKMATL |  |  | N
WORK MGT | PARAM | TANK SURVEY | T15 CONT-CAT1 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T16 CONT-CAT2 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T17 CONT-CAT3 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T18 CONTENTS1 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T19 CONTENTS2 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T20 CONTENTS3 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T21 COLLDATE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T22 EDIT-TIME |  |  | N
WORK MGT | PARAM | TANK SURVEY | T23 EDITFLAG |  |  | N
WORK MGT | PARAM | TANK SURVEY | T24 FM REP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T25 INSPECTOR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T26 LASTEDIT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T27 NOTINLISTS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T28 QCLEARANCE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T29 HAZRELEASE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T70 MAWP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T71 MOP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T72 PVCONTACT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T73 RAD-BASE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T74 RAD-DRAINS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T75 RAD-LIQDET |  |  | N
WORK MGT | PARAM | TANK SURVEY | T76 RAD-NOTES |  |  | N
WORK MGT | PARAM | TANK SURVEY | T77 RAD-SPLPRV |  |  | N
WORK MGT | PARAM | TANK SURVEY | T78 RAD-SWTRCT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T79 RAD-SWTRMN |  |  | N
WORK MGT | PARAM | TANK SURVEY | T80 SC-HASMNTR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T81 SC-MONITOR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T82 SC-NEEDED |  |  | N
WORK MGT | PARAM | TANK SURVEY | T83 SC-TYPE1 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T84 SC-TYPE2 |  |  | N
WORK MGT | PARAM | TANK SURVEY | T85 SC-VALVE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T86 COMMENTS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T87 CORROSION |  |  | N
WORK MGT | PARAM | TANK SURVEY | T88 ISCORRODED |  |  | N
WORK MGT | PARAM | TANK SURVEY | T89 ISVULNBLE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T90 REVIEWSTAT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T91 VN-CONDITN |  |  | N
WORK MGT | PARAM | TANK SURVEY | T92 VN-INFO |  |  | N
WORK MGT | PARAM | TANK SURVEY | T94 VN-MONITOR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T96 VN-SC |  |  | N
WORK MGT | PARAM | TANK SURVEY | T97 VULNBLTIES |  |  | N
WORK MGT | PARAM | TANK SURVEY | TA50 INBUILDING |  |  | N
WORK MGT | PARAM | TANK SURVEY | TA51 INEQUIP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T30 HAZSTORAGE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T31 HAZWSTPULL |  |  | N
WORK MGT | PARAM | TANK SURVEY | T32 LAST USED |  |  | N
WORK MGT | PARAM | TANK SURVEY | T33 PCTFULL |  |  | N
WORK MGT | PARAM | TANK SURVEY | T34 USABLE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T35 WASRELEASE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T36 ARELEAKS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T37 GWMONITOR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T38 ISBWMONTR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T39 ISOVERFLOW |  |  | N
WORK MGT | PARAM | TANK SURVEY | T40 LEAKS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T52 ROOM |  |  | N
WORK MGT | PARAM | TANK SURVEY | T53 T-UGROUND |  |  | N
WORK MGT | PARAM | TANK SURVEY | T54 WING |  |  | N
WORK MGT | PARAM | TANK SURVEY | T55 ER |  |  | N
WORK MGT | PARAM | TANK SURVEY | T56 LOCALDOC |  |  | N
WORK MGT | PARAM | TANK SURVEY | T57 NEWFMU |  |  | N
WORK MGT | PARAM | TANK SURVEY | T58 OLDFMU |  |  | N
WORK MGT | PARAM | TANK SURVEY | T59 OWNER |  |  | N
WORK MGT | PARAM | TANK SURVEY | T60 PRS-ID |  |  | N
WORK MGT | PARAM | TANK SURVEY | T61 TA |  |  | N
WORK MGT | PARAM | TANK SURVEY | T62 PIPEMATL |  |  | N
WORK MGT | PARAM | TANK SURVEY | T63 PIPENOTES |  |  | N
WORK MGT | PARAM | TANK SURVEY | T64 PIPEPROTCT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T65 PIPEUGRND |  |  | N
WORK MGT | PARAM | TANK SURVEY | T66 CURROPPRES |  |  | N
WORK MGT | PARAM | TANK SURVEY | T67 CURRTEMP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T68 LASTPVINSP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T69 LASTPRVINSP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T-93 VN-LOCATE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T-95 VN-PIPING |  |  | N
WORK MGT | PARAM | TANK SURVEY | T01 CAPACITY |  |  | N
WORK MGT | PARAM | TANK SURVEY | T02 CPCDATASRC |  |  | N
WORK MGT | PARAM | TANK SURVEY | T03 FUNCTION |  |  | N
WORK MGT | PARAM | TANK SURVEY | T04 MFGYEAR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T05 MFGYEARSRC |  |  | N
WORK MGT | PARAM | TANK SURVEY | T41 OVERFLOWS |  |  | N
WORK MGT | PARAM | TANK SURVEY | T42 TANKMONTR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T43 OTHERID |  |  | N
WORK MGT | PARAM | TANK SURVEY | T44 PADSTRUCT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T45 PROPNUM |  |  | N
WORK MGT | PARAM | TANK SURVEY | T46 SC STRUCT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T47 TANKSTRUCT |  |  | N
WORK MGT | PARAM | TANK SURVEY | T48 BUILDING |  |  | N
WORK MGT | PARAM | TANK SURVEY | T48 BULDING |  |  | N
WORK MGT | PARAM | TANK SURVEY | T49 FLOOR |  |  | N
WORK MGT | PARAM | TANK SURVEY | T50 INBUILDING |  |  | N
WORK MGT | PARAM | TANK SURVEY | T51 INEQUIP |  |  | N
WORK MGT | PARAM | TANK SURVEY | T93 VN-LOCATE |  |  | N
WORK MGT | PARAM | TANK SURVEY | T95 VN-PIPING |  |  | N

## TANKS AND RECEIVERS
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | TANKS AND RECEIVERS | M74 PRESSURE RELIEF VALVE |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M01 MANUFACTURER |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M50 GAUGE RANGE(S) |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M43 NORMAL OP PRESSURE, TEMP |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M35 ASME CODE |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M34 SERVICE (LIQUID,GAS,STEAM) |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M33 MAWP |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M05 SIZE |  |  | N
WORK MGT | PARAM | TANKS AND RECEIVERS | M04 TYPE |  |  | N

## TRANSFORMER
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | TRANSFORMER | E38 SECONDARY AMP RATING |  |  | N
WORK MGT | PARAM | TRANSFORMER | E39 SECONDARY VOLTAGE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E36 PRIMARY VOLTAGE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E35 PRIMARY AMP RATING |  |  | N
WORK MGT | PARAM | TRANSFORMER | E34 PRIMARY NO. OF PHASES |  |  | N
WORK MGT | PARAM | TRANSFORMER | E29 MOUNTING (WALL/FLOOR) |  |  | N
WORK MGT | PARAM | TRANSFORMER | E22 FEEDER: WIRE SIZE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E21 FEEDER: WIRES PER PHASE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E20 FEEDER: NO OF CONDUITS |  |  | N
WORK MGT | PARAM | TRANSFORMER | E19 FEEDER: CONDUIT TYPE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E18 FEEDER: CONDUIT SIZE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E14 AVAIL FAULT A.@BUS PH-GND |  |  | N
WORK MGT | PARAM | TRANSFORMER | E13 AVAIL FAULT A.@BUS 3PH BLT |  |  | N
WORK MGT | PARAM | TRANSFORMER | E12 PERCENT Z |  |  | N
WORK MGT | PARAM | TRANSFORMER | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | TRANSFORMER | E10 KVA RATING |  |  | N
WORK MGT | PARAM | TRANSFORMER | E09 DEGREES C TEMPERATURE RISE |  |  | N
WORK MGT | PARAM | TRANSFORMER | E08 ENCLOSURE (NEMA TYPE) |  |  | N
WORK MGT | PARAM | TRANSFORMER | E03 SERIAL NUMBER |  |  | N
WORK MGT | PARAM | TRANSFORMER | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | TRANSFORMER | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | TRANSFORMER | E37 SECONDARY NO. OF PHASES |  |  | N

## UPS INVERTER BATTERIES
APPLICATION | CODE_CATEGORY | TEMPLATE_NAME | COMPLEX_CODE | COMPLEX_CODE_VALUE | UNIT_OF_MEASURE | VALUE_REQD_IND
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E01 MANUFACTURER |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E02 MODEL/CAT. NO |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E65 NUMBER OF OUTPUT PHASES |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E64 NUMBER OF INPUT PHASES |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E63 NUMBER OF BATTERIES |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E62 MODEL/CAT. NO (BATTERIES) |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E61 MANUFACTURER (BATTERIES) |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E60 PROTECTN PER. @ RATED LOAD |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E59 VOLTAGE RATING (OUTPUT) |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E11 NRTL LABEL? YES / NO |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E10 KVA RATING |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E05 VOLTAGE RATING |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E04 TYPE/STYLE |  |  | N
WORK MGT | PARAM | UPS INVERTER/BATTERIES | E03 SERIAL NUMBER |  |  | N